## Slide 1: Evaluation of an AI-EEG based Photo-Paroxysmal Response solution on healthy subjects
Authors: Moncada et al
Speaker: José R. Villar
when false positive really matters
OES2025 – Stavanger University, Norway

## Slide 2: Evaluating an AI-EEG based PPR solution on healthy subjects
Table of contents
Photo-Paroxysmal Response (PPR)
Previous studies
AI-based anomaly detection
Conclusions and future work
OES2025 – Stavanger University, Norway

## Slide 3: Evaluating an AI-EEG based PPR solution on healthy subjects
Photo-Paroxysmal Response
OES2025 – Stavanger University, Norway

## Slide 4: Evaluating an AI-EEG based PPR solution on healthy subjects
Photo-Paroxysmal Response (PPR) and Intermittent photic stimulation (IPS)
OES2025 – Stavanger University, Norway

## Slide 5: Evaluating an AI-EEG based PPR solution on healthy subjects
Previous studies
OES2025 – Stavanger University, Norway

## Slide 6: Evaluating an AI-EEG based PPR solution on healthy subjects
Previous studies
OES2025 – Stavanger University, Norway

## Slide 7: Evaluating an AI-EEG based PPR solution on healthy subjects
AI-based anomaly detection
Data set: Phot_Data (9 p, 256 Hz), NONPhot_Data (5 p, 128 Hz) under IPS
Pre-processing:
  6th order Butterworth band-pass filter (0.5-120 Hz)
  Notch cut-off filter at 50 Hz
  1 second length sliding Windows, overlap 90%.
Classification using a distance function:
Reconstruction error: mean square error
Mahalanobis distance in the latent space
Anomaly proposed for high values of the total distance
OES2025 – Stavanger University, Norway

## Slide 8: Evaluating an AI-EEG based PPR solution on healthy subjects
Experimentation design CAEPIA2024
LOSO
Training on the IPS’ stimulation stage.
Tuning on the pre-stimulation stage of the testing individual.
Experimentation design OES2025
Reusing models from CAEPIA2025
Testing on NONPhot_Data patients.
AI-based anomaly detection
Experimentation design HAIS2025
Training on normal windows from NONPhot_Data.
Testing on IPS windows from Phot_Data.
OES2025 – Stavanger University, Norway

## Slide 9: Evaluating an AI-EEG based PPR solution on healthy subjects
EXPERIMENTATION DESIGN CAEPIA2024
Experimentation design OES2025
AI-based anomaly detection
Experimentation design HAIS2025
OES2025 – Stavanger University, Norway

## Slide 10: Evaluating an AI-EEG based PPR solution on healthy subjects
AI-based anomaly detection
EXPERIMENTATION DESIGN CAEPIA2024
EXPERIMENTATION DESIGN OES2025
Experimentation design HAIS2025
OES2025 – Stavanger University, Norway

## Slide 11: Evaluating an AI-EEG based PPR solution on healthy subjects
AI-based anomaly detection
EXPERIMENTATION DESIGN CAEPIA2024
EXPERIMENTATION DESIGN OES2025
Experimentation design HAIS2025
OES2025 – Stavanger University, Norway

## Slide 12: Evaluating an AI-EEG based PPR solution on healthy subjects
Conclusions
It is possible to employ this tool in assisting the manual labelling. We are working on this topic now.
A non-negligible number of False Negatives yet.
Thresholds are still needed, so AI would help in this as well.
Future
Labelling both data sets with all the anomalies allows classifying the windows with its correct anomaly.
  Perhaps zero-shot learning is required to face the PPR detection.
Training and tunning only with normal windows Will surely improve the system:
  So pretrained models filter tunning windows including any type of anomaly.
  A more sofisticated classifier than just the total distance.
Conclusions and future work
OES2025 – Stavanger University, Norway

## Slide 13: Evaluating an AI-EEG based PPR solution on healthy subjects
This is the end
Thank you!
OES2025 – Stavanger University, Norway
University of Oviedo