## Slide 1: PSHA incorporating near-fault effects for a soil site with embedded lava layers in South Iceland
Rajesh Rupakhety
Victor Hernández-Aguirre
12 June 2025

## Slide 2: Presentation Outline
Overview
Site characterization
PSHA
Physics-based simulations
Seismic actions
Conclusions

## Slide 3: 1. Overview
~80 m
T1=3,5-4 s
5 MW

## Slide 4: 1. Overview
Controlling scenarios
Probabilistic Seismic Hazard Assessment (PSHA)
Uniform hazard spectra with site effects
Physics based simulations
Long-period motions
Artificial neural network (ANN)
Broad-band ground motions
Near-fault ground motions with site effects
Design spectrum for near-fault conditions
Near-fault effects
Site characterization
Non-linear site response
Amplification functions
Site-effects

## Slide 5: Presentation Outline
Overview
Site characterization
PSHA
Physics-based simulations
Seismic actions
Conclusions

## Slide 6: 2. Site characterization Geotechnical information
Sultartangalón
Vaðalda
Notes: borehole logs from the earlier site investigations are available.

## Slide 7: 2. Site characterization Resonant column tests

## Slide 8: 2. Site characterization Down-hole tests

## Slide 9: 2. Site characterization Shear-wave velocity (Vs) profiles
Vs30 ~700 m/s
EC8 ground type B

## Slide 10: 2. Site characterization EC8 Elastic Spectrum
Vs30 ~700 m/s
EC8 ground type B

## Slide 11: Presentation Outline
Overview
Site characterization
PSHA
Physics-based simulations
Seismic actions
Conclusions

## Slide 12
3. PSHA Seismic zones

## Slide 13: 3. PSHA Including non-linear site response

## Slide 14: 3. PSHA Including non-linear site response
log(AF)=a+b*log(Sar)+c*log(Sar)2+ɛσ

## Slide 15
3. PSHA
PGA | TB | TC | TD | p | η | α1 | α2
0.234 | 0.1 | 0.22 | 2.5 | 2.5 | 1.0 | 1.3 | 0.1

## Slide 16
3. PSHA Deaggregation

## Slide 17: Presentation Outline
Overview
Site characterization
PSHA
Physics-based simulations
Seismic actions
Conclusions

## Slide 18: 4. Physics-based simulations (PBS) a
Notes: We incorporated aleatory uncertainties in key parameters defining the seismic rupture

## Slide 19: 4. Physics-based simulations (PBS) Numerical model
10-15 km
Notes: We incorporated aleatory uncertainties in key parameters defining the seismic rupture

## Slide 20: 4. Physics-based simulations Fault-normal PGV – Mw6.5

## Slide 21: 4. Physics-based simulations Fault-parallel PGV – Mw6.5

## Slide 22: Presentation Outline
Overview
Site characterization
PSHA
Physics-based simulations
Seismic actions
Conclusions

## Slide 23: 5. Seismic actions Acceleration response spectra (PSA)

## Slide 24: 5. Seismic actions Time histories

## Slide 25: 5. Seismic actions Design spectra for near-fault conditions
Chart: Period (s)
Chart: Period (s)

## Slide 26: Presentation Outline
Overview
Site characterization
PSHA
Physics-based simulations
Seismic actions
Conclusions

## Slide 27: 6. Conclusions
The site was characterized using ambient vibration measurements, resonant column and down-hole testing.
The effect of local geology on expected ground motion is included into PSHA by means of period-dependent soil (de)amplification functions.
Since near-fault effects can severely impact tall structures like wind turbine towers, these effects are incorporated deterministically through PBS.
Design ground motions and design spectra are defined from a combination of PSHA and simulation of potential scenario earthquakes.
Near-fault effects result into an increase in the long-period PSA, of approximately two times the EC8 PSA for ground type A.

## Slide 28
Victor Hernández, vmh5@hi.is
Rajesh Rupakhety, rajesh@hi.is
Thank you!